## Sheet1
id | TAG | 英文 | 中文 | 类别
1 | $ | $ | 美元 | Units
2 | % | % | 比例百分数 | Units
3 | Brand | Brand | 品牌 | Information
4 | Absorption | Absorption | 吸收 | Physical Process
5 | Active | Active | 有效 | Condition
6 | Address | Address | 地址 | Condition
7 | Adjustment | Adjustment | 适应 | Adjective
8 | AHU | Air hundling unit | 空气调节箱 | Equipment
9 | Air | Air | 空气 | Media
10 | Alarm | Alarm | 报警 | Statistics
11 | AmpRatio | AmpRatio | 电流百分比 | Physical
12 | Approach | Approach | 趋近 | Relationship
13 | Automatic | Automatic | 自动 | Code
14 | Available | Available | 可用 | Adjective
15 | Average | Average | 平均 | Statistics
16 | Basin | Basin | 集水盘 | Component
17 | BMS | Building management system | 智能建筑管理系统 | Relationship
18 | Boiler | Boiler | 锅炉 | Equipment
19 | Bypass | Bypass | 旁通 | Component
20 | DegreeC | Degree centigrade | 摄氏度 | Units
21 | Capacity | Capacity | 容量 | Physical
22 | CAV | Constant air volume | 定风量末端 | Equipment
23 | CoolingCoil | Cooling coil | 冷盘管 | Component
24 | Center | Center | 中心 | Area
25 | Chilled | Chilled | 冷冻的 | Adjective
26 | Chiller | Chiller | 冷机 | Equipment
27 | CHWP | Chilled water pump | 冷冻水泵 | Equipment
28 | Cleaner | Cleaner | 净化器 | Equipment
29 | Close | Close | 关闭 | Statistics
30 | CO2 | Carbon dioxide | 二氧化碳 | Media
31 | Code | Code | 代码 | Code
32 | Coil | Coil | 盘管 | Component
33 | Comd | Command | 指令 | Information
34 | Commissioning | Commissioning | 试运行 | Adjective
35 | Common | Common | 正常 | Adjective
36 | Compressor | compressor | 压缩机 | Component
37 | Condenser | Condenser | 冷凝器 | Component
38 | Control | Control | 控制 | Condition
39 | Cooling | Cooling | 制冷 | Condition
40 | COP | COP | 能效比 | Efficiency
41 | CoolingTower | Cooling tower | 冷却塔 | Equipment
42 | Current | Current | 电流 | Physical
43 | CWP | Cooling water pump | 冷水泵 | Equipment
44 | Cycling | Cycling | 循环 | Code
45 | Damper | Damper | 风阀 | Component
46 | Day | Day | 白天，天，逐日 | Adjective
47 | Delay | Delay | 延迟 | Code
48 | Delta | Delta | 差值 | Compare
49 | Design | Design | 设计 | Condition
50 | Diagnose | Diagnose | 诊断 | Adjective
51 | Diesel | Diesel | 柴油机 | Equipment
52 | Difference | Difference | 差别 | Compare
53 | DistillationPressureRegulator | Distillation Pressure Regulator | 蒸发器出口调压器 | Component
54 | Drive | Drive | 驱动 | Code
55 | EAF | Exhaust air fan | 排风机 | Equipment
56 | Economy | Economy | 节能型 | Adjective
57 | Effective | Effective | 有效的 | Statistics
58 | Electric | Electric | 电 | Physical
59 | Emergency | Emergency | 紧急 | Adjective
60 | Enable | Enable | 使能 | Code
61 | Enabled | Enabled | 可用的 | Adjective
62 | Consumption | Consumption | 用电量 | Physical
63 | EnergyTransfer | EnergyTransfer | 能量转换 | Physical
64 | Enter | Enter | 进 | Direction
65 | Error | Error | 错误 | Code
66 | Evap | Evap | 蒸发 | Physical Process
67 | Evaporator | Evaporator | 蒸发器 | Component
68 | Exhaust | Exhaust | 排 | Direction
69 | DegreeF | Fahrenheit degree | 华氏度 | Units
70 | Factor | Factor | 因子 | Physical
71 | PowerFactor | Power factor | 功率因子 | Physical
72 | Fan | Fan | 风机 | Equipment
73 | Fault | Fault | 故障 | Code
74 | FCU | Fan coil unit | 风机盘管 | Equipment
75 | Feedback | Feedback | 反馈 | Code
76 | Filter | Filter | 过滤 | Physical Process
77 | Fire | Fire | 火 | Media
78 | Floor | Floor | 楼层 | Area
79 | Flow | Flow | 流量 | Physical
80 | Fluid | Fluid | 流体 | Media
81 | Frequency | Frequency | 频率 | Physical
82 | Fuel | Fuel | 燃料 | Energy Sources
83 | FuelOil | FuelOil | 燃料油 | Energy Sources
84 | Gas | Gas | 气 | Energy Sources
85 | Gasoline | Gasoline | 汽油 | Energy Sources
86 | Gear | Gear | 齿轮 | Component
87 | Generator | Generator | 发生器 | Component
88 | Group | Group | 组，群 | Relationship
89 | Heat | Heat | 热 | Condition
90 | Heater | Heater | 加热器 | Component
91 | Heating | Heating | 加热 | Physical Process
92 | HeatRecovery | HeatRecovery | 热回收 | Physical Process
93 | HeatRejection | HeatRejection | 散热 | Physical Process
94 | High | High | 高 | Adjective
95 | Hot | Hot | 热 | Adjective
96 | Hour | Hour | 小时 | Statistics
97 | Humidity | Humidity | 湿度 | Physical
98 | HeatExchangers | Heat exchangers | 板换 | Equipment
99 | Hz | Hz | 赫兹 | Units
100 | Ice | Ice | 冰 | Media
101 | Indirect | Indirect | 间接 | Relationship
102 | Inlet | Inlet | 进口 | Direction
103 | InductionUnit | Induction unit | 诱导器 | Equipment
104 | kg | kg | 千克 | Units
105 | kJ | kJ | 千焦 | Units
106 | kW | kW | 千瓦 | Units
107 | kWh | kWh | 电量千瓦时 | Units
108 | l/s | l/s | 升每秒 | Units
109 | Lag | Lag | 滞后 | Adjective
110 | Latest | Latest | 最近 | Relationship
111 | Lead | Lead | 优先 | Adjective
112 | Leave | Leave | 离开 | Direction
113 | Limit | Limit | 限定 | Compare
114 | Line | Line | 线 | Relationship
115 | LiquidErr | LiquidErr | 液位报警 | Code
116 | Load | Load | 负荷 | Physical
117 | Lock | Lock | 锁定 | Adjective
118 | Loop | Loop | 回路 | Component
119 | Low | Low | 低 | Adjective
120 | Lower | Lower | 较低 | Compare
121 | Lube | Lube | 润滑油 | Media
122 | m3/h | m3/h | 立方米每小时 | Units
123 | Manual | Manual | 人工 | Adjective
124 | Mass | Mass | 质量 | Physical
125 | MAU | Make-up air handling unit | 新风空调箱 | Equipment
126 | Maximum | Maximum | 最大 | Statistics
127 | Minimum | Minimum | 最小 | Statistics
128 | Mismatch | Mismatch | 错误匹配 | Adjective
129 | Mode | Mode | 模式 | Code
130 | Monitor | Monitor | 监测仪 | Component
131 | Month | Month | 月 | Statistics
132 | Motor | Motor | 发动机 | Component
133 | Name | Name | 名称 | Adjective
134 | Night | Night | 晚上 | Statistics
135 | Nominal | Nominal | 名义 | Adjective
136 | Number | Number | 数量 | Statistics
137 | OAU | Outdoor air unit | 外气空调机 | Equipment
138 | Off | Off | 关 | Code
139 | Oil | Oil | 油 | Media
140 | Onoff | Onoff | 开关 | Code
141 | Open | Open | 开 | Code
142 | Optimum | Optimum | 最佳 | Compare
143 | OtherFuel | OtherFuel | 其他燃料 | Media
144 | Outdoor | Outdoor | 室外 | Adjective
145 | Outlet | Outlet | 出 | Direction
146 | Over | Over | 过 | Adjective
147 | OverRide | Override | 过载 | Adjective
148 | PackagedAirConditioner | Packaged air conditioner | 分体式空调 | Equipment
149 | Part | Part | 部分 | Relationship
150 | PAU | Primary air unit | 新风柜 | Equipment
151 | Performance | Performance | 性能 | Efficiency
152 | Plant | Plant | 机房 | Equipment
153 | Point | Point | 点位 | Information
154 | Position | position | 开度 | Physical
155 | Power | Power | 功率 | Physical
156 | Percent | Percent | 百分比 | Units
157 | Pressure | pressure | 压力 | Physical
158 | Primary | Primary | 一次 | Adjective
159 | Priority | Priority | 优先级别 | Information
160 | Propane | Propane | 丙烷 | Media
161 | Protection | Protection | 保护 | Adjective
162 | Pump | Pump | 水泵 | Equipment
163 | RAF | Return air fan | 回风机 | Equipment
164 | IntactRate | Intact Rate | 健康率 | Information
165 | Ratio | Ratio | 比 | Statistics
166 | Reactive | Reactive | 无功 | Physical
167 | Recovered | Recovered | 恢复 | Adjective
168 | Recovery | Recovery | 恢复 | Code
169 | Refrigerant | Refrigerant | 制冷剂 | Media
170 | Reheat | Reheat | 再热 | Physical Process
171 | Relief | Relief | 减少 | Adjective
172 | Remote | Remote | 远程 | Code
173 | Local | Local | 本地，就地 | Code
174 | Reset | Reset | 重置 | Code
175 | Return | Return | 回 | Direction
176 | Riser | Riser | 立管 | Component
177 | RMB | RMB | 人民币 | Units
178 | RT | RT | 冷吨 | Units
179 | RTH | RTH | 冷吨时 | Units
180 | Run | Run | 运行 | Code
181 | Saturation | Saturation | 饱和 | Physical Process
182 | Season | Season | 季节 | Adjective
183 | Second | Second | 第二 | Adjective
184 | Secondary | Secondary | 二次 | Adjective
185 | Select | Select | 选择 | Information
186 | Sequence | Sequence | 序列 | Code
187 | Service | Service | 服务 | Code
188 | Set | Set | 设定 | Code
189 | Setpoint | Setpoint | 设定点 | Code
190 | Shaft | Shaft | 轴 | Component
191 | Smoke | Smoke | 烟雾 | Media
192 | Source | Source | 源 | Energy Sources
193 | Speed | Speed | 速度 | Physical
194 | Spool | Spool | 阀芯 | Component
195 | Stage | Stage | 阶 | Physical
196 | Start | Start | 开始 | Code
197 | Static | Static | 静止的 | Adjective
198 | Status | Status | 状态 | Information
199 | Steam | Steam | 蒸汽 | Media
200 | Stop | Stop | 停 | Code
201 | Suction | Suction | 抽吸 | Physical Process
202 | Supercooling | Supercooling | 过冷 | Physical Process
203 | Superheat | Superheat | 过热 | Physical Process
204 | Supply | Supply | 供 | Direction
205 | Switch | Switch | 开关 | Component
206 | System | System | 系统 | Relationship
207 | Tank | Tank | 水箱 | Component
208 | Temperature | Temperature | 温度 | Physical
209 | Third | Third | 第三 | Adjective
210 | Time | Time | 时间 | Physical
211 | Total | Total | 总的 | Statistics
212 | Transfer | Transfer | 转换 | Physical Process
213 | Trip | Trip | 跳机 | Adjective
214 | Type | Type | 类型 | Adjective
215 | Use | Use | 使用 | Consumption
216 | Valve | Valve | 水阀 | Component
217 | VAV | Variable air volume | 变风量系统 | Component
218 | Voltage | Voltage | 电压 | Physical
219 | Volume | Volume | 体积 | Physical
220 | VSD | Variable speed drive | 变频 | Physical
221 | Warning | Warning | 报警 | Information
222 | Water | Water | 水 | Media
223 | Week | Week | 周 | Statistics
224 | Zone | Zone | 区域 | Area
225 | Rated | Rated | 额定 | Physical
226 | HWP | Hot water pump | 热水泵 | Equipment
227 | Mainpipe | Mainpipe | 总管 | Component
228 | Fresh | Fresh | 新鲜 | Adjective
229 | Apparent | Apparent | 视在 | Adjective
230 | On | On | 开启 | Adjective
231 | Under | Under | 在...下 | Adjective
232 | kV | kV | 千伏 | Units
233 | kVA | kVA | 千伏安 | Units
234 | Value | Value | 值 | Statistics
235 | Schedule | Schedule | 时刻表 | Code
236 | Fail | Fail | 失败 | Condition
237 | Room | Room | 房间 | Area
238 | Level | Level | 水位 | Physical
239 | Burner | Burner | 燃烧器 | Component
240 | Sensor | Sensor | 传感器 | Component
241 | OpenCircuit | Open circuit | 断路 | Adjective
242 | ShortCircuit | Short circuit | 短路 | Adjective
243 | ThreeWay | ThreeWay | 三通 | Component
244 | Full | Full | 满,全部 | Adjective
245 | Discharge | Discharge | 放 | Physical Process
246 | History | History | 历史 | Adjective
247 | RPM | Round per minute | 每分钟转速 | Physical
248 | Meter | Meter | 仪表计量器 | Component
249 | Afterhrs | Afterhrs | 下班后 | Adjective
250 | OffSet | Offset | 补偿的 | Adjective
251 | Leak | Leak | 泄露 | Physical Process
252 | Numeric | Numeric | 数值的 | Adjective
253 | Lastmonth | Lastmonth | 上个月 | Adjective
254 | Unknown | Unknown | 未知 | Other
255 | Uncertain | Uncertain | 不确定 | Other
256 | Indoor | Indoor | 室内 | Adjective
257 | North | North | 北 | Area
258 | South | South | 南 | Area
259 | West | West | 西 | Area
260 | East | East | 东 | Area
261 | Condensation | Condensation | 冷凝 | Physical Process
262 | Demand | Demand | 需求 | Adjective
263 | Antifreezing | Antifreezing | 防冻 | Adjective
264 | Mixing | Mixing | 混 | Adjective
265 | Inside | Inside | 内 | Area
266 | Outside | Outside | 外 | Area
267 | Preheating | Preheating | 预热 | Physical Process
268 | Runner | Runner | 转轮 | Component
269 | TransitionSeason | TransitionSeason | 过渡季节 | Statistics
270 | Summer | Summer | 夏天 | Statistics
271 | Winter | Winter | 冬天 | Statistics
272 | Spring | Spring | 春天 | Statistics
273 | Autumn | Autumn | 秋天 | Statistics
274 | Enthalpy | Enthalpy | 焓 | Physical
275 | Entropy | Entropy | 熵 | Physical
276 | MWP | Make-up water pump | 补水泵 | Equipment
277 | Charge | Charge | 蓄 | Physical Process
278 | Medium | Medium | 中间的 | Adjective
279 | Cumulate | Cumulate | 累积 | Statistics
280 | Instant | Instant | 瞬时 | Statistics
281 | Increase | Increase | 加 | Statistics
282 | Reduce | Reduce | 减 | Statistics
283 | Ia | LineCurrent A | A线电流 | Physical
284 | Ib | LineCurrent B | B线电流 | Physical
285 | Ic | LineCurrent C | C线电流 | Physical
286 | Ua | LineVoltage A | A线电压 | Physical
287 | Ub | LineVoltage B | B线电压 | Physical
288 | Uc | LineVoltage C | C线电压 | Physical
289 | Uab | PhaseVoltage AB | AB相电压 | Physical
290 | Ubc | PhaseVoltage BC | BC相电压 | Physical
291 | Uca | PhaseVoltage CA | CA相电压 | Physical
292 | Transformer | Transformer | 变压器 | Component
293 | HeatPump | Heat pump | 热泵 | Equipment
294 | ChemicalDosingPump | Chemical dosing pump | 加药泵 | Equipment
295 | Lighting | Lighting | 照明设备 | Equipment
296 | Duct | Duct | 传输 | Physical Process
297 | Module | Module | 调节 | Adjective
298 | Escalator | Escalator | 自动扶梯 | Equipment
299 | Elevator | Elevator | 升降电梯 | Equipment
300 | CO | CO | 一氧化碳 | Media