## Sheet1
id | TAG | 英文 | 中文 | 类别
1 | $ | $ | 美元 | Units
2 | % | % | 比例百分数 | Units
3 | AB | AB | AB | Brand
4 | Absorption | Absorption | 吸收 | Physical Process
5 | Active | Active | 有效 | Condition
6 | Address | Address | 地址 | Condition
7 | Adjustment | Adjustment | 适应 | Adjective
8 | AHU | AHU | 空气调节箱 | Equipment
9 | Air | Air | 空气 | Media
10 | Alarm | Alarm | 报警 | Statistics
11 | AmpRatio | AmpRatio | 电流百分比 | Physical
12 | Approach | Approach | 趋近 | Relationship
13 | Automatic | Automatic | 自动 | Code
14 | Available | Available | 可用 | Adjective
15 | Average | Average | 平均 | Statistics
16 | Basin | Basin | 集水盘 | Component
17 | BMS | BMS | 楼宇系统 | Relationship
18 | Boiler | Boiler | 锅炉 | Equipment
19 | Bypass | Bypass | 旁通 | Component
20 | ℃ | Centigrade | 摄氏度 | Units
21 | Capacity | Capacity | 容量 | Physical
22 | CAV | CAV | 定风量末端 | Equipment
23 | CC | Cooling coil | 冷盘管 | Component
24 | Center | Center | 中心 | Area
25 | Chilled | Chilled | 冷冻的 | Adjective
26 | Chiller | Chiller | 冷机 | Equipment
27 | CHWP | CHWP | 冷冻水泵 | Equipment
28 | Cleaner | Cleaner | 净化器 | Equipment
29 | Close | Close | 关闭 | Statistics
30 | CO2 | CO2 | 二氧化碳 | Media
31 | Code | Code | 代码 | Code
32 | Coil | Coil | 盘管 | Component
33 | Comd | Command | 指令 | Information
34 | Commissioning | Commissioning | 试运行 | Adjective
35 | Common | Common | 正常 | Adjective
36 | Compressor | compressor | 压缩机 | Component
37 | Condenser | Condenser | 冷凝器 | Component
38 | Control | Control | 控制 | Condition
39 | Cooling | Cooling | 制冷 | Condition
40 | COP | COP | COP | Efficiency
41 | CT | Cooling Tower | 冷却塔 | Equipment
42 | Current | Current | 电流 | Physical
43 | CWP | CWP | 冷水泵 | Equipment
44 | Cycling | Cycling | 循环 | Code
45 | Damper | Damper | 风阀 | Component
46 | Day | Day | 白天，天 | Adjective
47 | Delay | Delay | 延迟 | Code
48 | Delta | Delta | 差值 | Compare
49 | Design | Design | 设计 | Condition
50 | Diagnose | Diagnose | 诊断 | Adjective
51 | Diesel | Diesel | 柴油机 | Equipment
52 | Difference | Difference | 差别 | Compare
53 | DPR | Distillation Pressure Regulator | 蒸发器出口调压器 | Component
54 | Drive | Drive | 驱动 | Code
55 | EAF | EAF | 排风机 | Equipment
56 | Economy | Economy | 节能型 | Adjective
57 | Effective | Effective | 有效的 | Statistics
58 | Electric | Electric | 电 | Physical
59 | Emergency | Emergency | 紧急 | Adjective
60 | Enable | Enable | 使能 | Code
61 | Consumption | Consumption | 用电量 | Physical
62 | EnergyTransfer | EnergyTransfer | 能量转换 | Physical
63 | Enter | Enter | 进 | Direction
64 | Error | Error | 错误 | Code
65 | Evap | Evap | 蒸发 | Physical Process
66 | Evaporator | Evaporator | 蒸发器 | Component
67 | Exhaust | Exhaust | 排 | Direction
68 | ℉ | Fahrenheit degree | 华氏度 | Units
69 | Factor | Factor | 因子 | Physical
70 | Fan | Fan | 风机 | Equipment
71 | Fault | Fault | 故障 | Code
72 | FCU | FCU | 风机盘管 | Equipment
73 | Feedback | Feedback | 反馈 | Code
74 | Filter | filter | 过滤 | Physical Process
75 | Fire | Fire | 火 | Media
76 | First | First | 初次 | Adjective
77 | Floor | Floor | 楼层 | Area
78 | Flow | Flow | 流量 | Physical
79 | Fluid | Fluid | 流体 | Media
80 | Frequent | Frequent | 频率 | Physical
81 | Fuel | Fuel | 燃料 | Energy Sources
82 | FuelOil | FuelOil | 燃料油 | Energy Sources
83 | Gas | Gas | 气 | Energy Sources
84 | Gasoline | Gasoline | 汽油 | Energy Sources
85 | Gear | Gear | 齿轮 | Component
86 | Generator | Generator | 发生器 | Component
87 | Group | Group | 组，群 | Relationship
88 | Heat | Heat | 热 | Condition
89 | Heater | Heater | 加热器 | Component
90 | Heating | Heating | 加热 | Physical Process
91 | HeatRecovery | HeatRecovery | 热回收 | Physical Process
92 | HeatRejection | HeatRejection | 散热 | Physical Process
93 | High | High | 高 | Adjective
94 | Hot | Hot | 热 | Adjective
95 | Hour | Hour | 小时 | Statistics
96 | Humidity | Humidity | 湿度 | Physical
97 | HX | HX | 板换 | Equipment
98 | Hz | Hz | 赫兹 | Units
99 | Ice | Ice | 冰 | Media
100 | Indirect | Indirect | 间接 | Relationship
101 | Inlet | Inlet | 进 | Direction
102 | IU | IU | IU | Equipment
103 | kg | kg | 千克 | Units
104 | kJ | kJ | 千焦 | Units
105 | kW | kW | 千瓦时 | Units
106 | kW | kW | 千瓦 | Units
107 | kWh | kWh | 电量千瓦时 | Units
108 | l/s | l/s | 升每秒 | Units
109 | Lag | Lag | 滞后 | Adjective
110 | Latest | Latest | 最近 | Relationship
111 | Lead | Lead | 优先 | Adjective
112 | Leave | Leave | 离开 | Direction
113 | Limit | Limit | 限定 | Compare
114 | Line | Line | 线 | Relationship
115 | LiquidErr | LiquidErr | 液位报警 | Code
116 | Load | Load | 负荷 | Physical
117 | Lock | Lock | 锁定 | Adjective
118 | Loop | Loop | 回路 | Component
119 | Low | Low | 低 | Adjective
120 | Lower | Lower | 较低 | Compare
121 | Lube | Lube | 润滑油 | Media
122 | m3/h | m3/h | 立方米每小时 | Units
123 | Manual | Manual | 人工 | Adjective
124 | Mass | Mass | 质量 | Physical
125 | MAU | MAU | 新风空调箱 | Equipment
126 | Maximum | Maximum | 最大 | Statistics
127 | Minimum | Minimum | 最小 | Statistics
128 | Mismatch | Mismatch | 错误匹配 | Adjective
129 | Mode | Mode | 模式 | Code
130 | Monitor | Monitor | 监测仪 | Component
131 | Month | Month | 月 | Statistics
132 | Motor | Motor | 发动机 | Component
133 | Name | Name | 名称 | Adjective
134 | Night | Night | 晚上 | Statistics
135 | Nominal | Nominal | 名义 | Adjective
136 | Number | Number | 数量 | Statistics
137 | OAU | OAU | 外气空调机 | Equipment
138 | Off | Off | 关 | Code
139 | Oil | Oil | 油 | Media
140 | Onoff | Onoff | 开关 | Code
141 | open | Open | 开 | Code
142 | Optimum | Optimum | 最佳 | Compare
143 | OtherFuel | OtherFuel | 其他燃料 | Media
144 | Outdoor | Outdoor | 室外 | Adjective
145 | Outlet | Outlet | 出 | Direction
146 | Over | Over | 过 | Adjective
147 | Override | Override | 过载 | Adjective
148 | PAC | PAC | PAC | Equipment
149 | Part | Part | 部分 | Relationship
150 | PAU | PA | 新风处理器 | Equipment
151 | Percent | Percent | 百分比 | Statistics
152 | Performance | Performance | 性能 | Efficiency
153 | Plant | Plant | 机房 | Equipment
154 | Point | Point | 点位 | Information
155 | Position | position | 开度 | Physical
156 | Power | Power | 功率 | Physical
157 | Precent | Precent | 百分比 | Units
158 | Pressure | pressure | 压力 | Physical
159 | Primary | Primary | 一次 | Adjective
160 | Priority | Priority | 优先 | Adjective
161 | Propane | Propane | 丙烷 | Media
162 | Protection | Protection | 保护 | Adjective
163 | Pump | pump | 水泵 | Equipment
164 | RAF | RAF | 回风机 | Equipment
165 | Rate | Rate | 率 | Statistics
166 | Ratio | Ratio | 比 | Statistics
167 | Reactive | Reactive | 无功 | Physical
168 | Recovered | Recovered | 恢复 | Adjective
169 | Recovery | Recovery | 恢复 | Code
170 | Refrigerant | Refrigerant | 制冷剂 | Media
171 | Reheat | Reheat | 再热 | Physical Process
172 | Relief | Relief | 减少 | Adjective
173 | Remote | Remote | 远程 | Code
174 | Reset | Reset | 重置 | Code
175 | Return | Return | 回 | Direction
176 | Ride | Ride | 载荷 | Physical
177 | Riser | Riser | 立管 | Component
178 | RMB | RMB | 人民币 | Units
179 | RT | RT | 冷吨 | Units
180 | RTH | RTH | 冷吨时 | Units
181 | Run | Run | 运行 | Code
182 | Saturation | Saturation | 饱和 | Physical Process
183 | Season | Season | 季节 | Adjective
184 | Second | Second | 第二 | Adjective
185 | Secondary | Secondary | 二次 | Adjective
186 | Select | Select | 选择 | Information
187 | Sequence | Sequence | 序列 | Code
188 | Service | Service | 服务 | Code
189 | Set | Set | 设定 | Code
190 | Setpoint | Setpoint | 设定点 | Code
191 | Shaft | Shaft | 轴 | Component
192 | Smoke | Smoke | 烟雾 | Media
193 | Source | Source | 源 | Energy Sources
194 | Speed | Speed | 速度 | Physical
195 | Spool | Spool | 阀芯 | Component
196 | Stage | Stage | 阶 | Physical
197 | Start | Start | 开始 | Code
198 | Static | Static | 禁止 | Information
199 | Status | Status | 状态 | Information
200 | Steam | Steam | 蒸汽 | Media
201 | Stop | Stop | 停 | Code
202 | Suction | Suction | 抽吸 | Physical Process
203 | Supercooling | Supercooling | 过冷 | Physical Process
204 | Superheat | Superheat | 过热 | Physical Process
205 | Supply | Supply | 供 | Direction
206 | Switch | Switch | 开关 | Component
207 | System | System | 系统 | Relationship
208 | Tank | Tank | 水箱 | Component
209 | Temperature | Temperature | 温度 | Physical
210 | Third | Third | 第三 | Adjective
211 | Time | Time | 时间 | Physical
212 | Total | Total | 总的 | Statistics
213 | Transfer | Transfer | 转换 | Physical Process
214 | Trip | Trip | 跳机 | Adjective
215 | Type | Type | 类型 | Adjective
216 | Use | Use | 使用 | Consumption
217 | Valve | Valve | 水阀 | Component
218 | VAV | VAV | 变风量系统 | Equipment
219 | Voltage | Voltage | 电压 | Physical
220 | Volume | Volume | 体积 | Physical
221 | VSD | VSD | 变频 | Physical
222 | Warning | Warning | 报警 | Information
223 | Water | Water | 水 | Media
224 | Week | Week | 周 | Statistics
225 | Zone | Zone | 区域 | Area
226 | Rated | Rated | 额定 | Physical
227 | HWP | Hot water pump | 热水泵 | Equipment
228 | Mainpipe | Mainpipe | 总管 | Component
229 | Fresh | Fresh | 新鲜 | Adjective
230 | Apparent | Apparent | 视在 | Adjective
231 | On | On | 开启 | Adjective
232 | Under | Under | 在...下 | Adjective
233 | KV | KV | 千伏 | Units
234 | KVA | KVA | 千伏安 | Units
235 | Value | Value | 值 | Statistics
236 | Schedule | Schedule | 时刻表 | Code
237 | Fail | Fail | 失败 | Condition
238 | Room | Room | 房间 | Area
239 | Level | Level | 水位 | Physical
240 | Burner | Burner | 燃烧器 | Component
241 | Sensor | Sensor | 传感器 | Component
242 | Breakage | Breakage | 断路 | Adjective
243 | Short | Short | 短路 | Adjective
244 | ThreeWay | ThreeWay | 三通 | Component
245 | Full | Full | 满,全部 | Adjective
246 | Discharge | Discharge | 排气 | Physical Process
247 | History | History | 历史 | Adjective
248 | RPM | Round per minute | 每分钟转速 | Physical
249 | Meter | Meter | 仪表计量器 | Component
250 | Afterhrs | Afterhrs | 下班后 | Adjective
251 | Offset | Offset | 补偿的 | Adjective
252 | Leak | Leak | 泄露 | Physical Process
253 | Numeric | Numeric | 数值的 | Adjective
254 | Lastmonth | Lastmonth | 上个月 | Adjective
255 | Unknown | Unknown | 未知 | Other
256 | Uncertain | Uncertain | 不确定 | Other
257 | Indoor | Indoor | 室内 | Adjective
258 | Phasevoltage | Phase voltage | 相电压 | Physical
259 | Linevoltage | Line voltage | 线电压 | Physical
260 | Phasecurrent | Phase current | 相电流 | Physical
261 | Linecurrent | Line current | 线电流 | Physical
262 | North | North | 北 | Area
263 | South | South | 南 | Area
264 | West | West | 西 | Area
265 | East | East | 东 | Area
266 | Cond | Condensation | 冷凝 | Physical Process